chapter 3.10.7.

SALMONELLOSIS*

SUMMARY

Description of the disease: Salmonellosis is an infectious disease of humans and animals caused by bacteria of the genus Salmonella. Salmonellae are aetiological agents of diarrhoeal and systemic infections. They often cause subclinical infections and may be shed in large numbers within the faeces of clinical cases and carrier animals resulting in contamination of the environment. Infection in food animals often leads to contamination of meat, eggs, milk and cheese milk products. Salmonellosis is one of the most common and economically important food-borne zoonotic diseases in humans. The disease has been recognised in all countries and non-typhoidal Salmonella appears to be most prevalent in areas of intensive animal husbandry, especially in pigs, intensively reared calves and poultry.

The disease can affect all species of domestic animals; young animals and pregnant and lactating animals are the most susceptible to clinical infections. Enteric disease is the commonest clinical manifestation, but a wide range of clinical signs, which include acute septicaemia, abortion, arthritis and respiratory disease, may be seen. Many animals, especially pigs and poultry, may be infected but show no clinical illness. Such animals may be important animal species have a central role in relation to the spread of infection between flocks and herds and as sources of food contamination and human infection.

Fowl typhoid and Pullorum disease, poultry diseases caused by host-specific Salmonella biovars, are addressed in chapter 3.3.11.

Detection of the agent: Diagnosis is based on the isolation and identification of the organism either from tissues collected aseptically at necropsy or from faeces, rectal swabs or, environmental samples, food products and feedstuffs; . Prior or current infection of animals by some serovars may also be diagnosed serologically. When infection of the reproductive organs or abortion occurs, it is necessary usual to culture fetal stomach contents, placenta and vaginal swabs and, in the case of poultry, embryonated eggs or ovary/oviduct.

Salmonellae may be isolated using a variety of techniques that may include pre-enrichment to resuscitate and multiply sub-lethally damaged salmonellae organisms, enrichment media that contain inhibitory substances to suppress competing organisms and selective plating agars to differentiate salmonellae from other enterobacteria. Alternative methods such as polymerase chain reaction and immunological detection of Salmonella antigens can also be used, according to legislative requirements.

Various biochemical, serological and molecular tests can be applied to the pure culture to provide a definitive confirmation of an isolated strain. Salmonellae possess antigens designated somatic (O), flagellar (H) and virulence (Vi), which may be identified by specific typing sera, and the serovar may be determined by reference to the antigenic formulae in the White-Kauffmann–Le Minor scheme. Many laboratories may need to send isolates to a reference laboratory for the identification of the serotype and further characterisation. Alternative serotyping methods, including multi-locus sequence typing (MLST)-include various methods based on molecular approaches, such as microarray or whole genome sequencing, which are increasingly used. Phage-typing schemes are also available for some serovars, but are less commonly used than in former years, having been largely superseded by molecular methods.

Serological tests: Serological tests should be conducted on a statistically representative sample of the population and results are not always indicative of active infection. In the laboratory, the tube agglutination test is the method of choice for export and diagnostic purposes for samples from all species of farm animals. Enzyme-linked immunosorbent assays are available for some serovars and may be used for serological diagnosis and surveillance, especially in poultry and pigs. Salmonella vaccination may compromise the diagnostic value of serological tests.

Requirements for vaccines: Inactivated and live vaccines are available commercially. In the case of the Inactivated vaccines, they usually contain oil or alhydrogel adjuvants to improve their efficacy.

A.  INTRODUCTION

Salmonellosis is an infectious disease of humans and animals, clinically characterised by septicaemia, acute enteritis or chronic enteritis, septicaemia or abortion. Animals may be infected without being overtly ill. Salmonellae are primarily intestinal bacteria and may be shed continuously or intermittently within the faeces, resulting in contamination of the environment (Barrow & Methner, 2013).

1.	Causal Nature and Classification and nomenclature of the pathogen agent

The genus Salmonella consists of only two species: S. enterica and S. bongori (Grimont & Weill, 2007). Salmonella enterica is divided into six subspecies, which are distinguishable by certain biochemical characteristics and susceptibility to lysis by bacteriophage Felix O1. These subspecies are:

|  | Original subgenera |  | Current nomenclature |
| --- | --- | --- | --- |
| • | Subspecies I | = | subspecies enterica |
| • | Subspecies II | = | subspecies salamae |
| • | Subspecies IIIa | = | subspecies arizonae |
| • | Subspecies IIIb | = | subspecies diarizonae |
| • | Subspecies IV | = | subspecies houtenae |
| • | Subspecies VI | = | subspecies indica |

For the serovars of S. bongori, the symbol V was retained to avoid confusion with the serovar names of S. enterica subsp. enterica.

Strains of Salmonella are classified into serovars on the basis of extensive diversity of lipopolysaccharide (LPS) or; O antigens) and flagellar protein or (H antigens) in accordance with the White-Kauffmann–Le Minor scheme (Grimont & Weil, 2007); currently more than 2600 serovars are recognised (Issenhuth-Jeanjean et al., 2014)., but there are also a number of stable monophasic variant clones of several serovars, and the list of serovars has not been updated for over 10 years. The most common serovars that cause infections in humans and food animals belong to subspecies enterica. The serovars of the other subspecies are more likely to be found in cold-blooded animals and in the environment, but are occasionally associated with human disease. Some serovars of subspecies arizonae and subspecies diarizonae may cause disease in turkeys and sheep and others may be carried by reptiles and amphibians. In accordance with the White-Kauffmann–Le Minor scheme, only serovars of subspecies enterica bear a name, e.g. S. enterica subsp. enterica serovar Enteritidis, or S. enterica serovar Enteritidis, or, in short, S. Enteritidis. Serovars of other subspecies of S. enterica, monophasic variants and those of serovars within S. bongori are designated only by their antigenic formula (e.g. Salmonella IV 48:g.z51).

Changes to serovar classification may occur when different O antigens are expressed due to colony form variation or lysogenation lysogeny by bacteriophage(s) or when different flagellae are produced expressed as a result of phase variation or deletions or mutations in genes coding for flagellae or expression mechanisms.

2.	Description and impact of the disease

The course of infection, the clinical signs, the post-mortem findings and epidemiological patterns vary according to the serovar and the animal species involved. Most serovars can cause disease in a wide range of animal species (Barrow & Methner, 2013 Jajere, 2019), but some serovars are host-specific, e.g. S. Typhi in humans and S. Abortusovis in sheep. Other serovars are host-adapted e.g. S. Choleraesuis in pigs and S. Dublin in cattle. Host-specific and host-adapted serovars often cause septicaemic disease. In poultry, the host-specific diseases Pullorum disease or bacillary white diarrhoea and fowl typhoid are used to describe the host-specific infections caused by S. Gallinarum, biovars Pullorum and S. Gallinarum, Gallinarum (Barrow & Neto, 2011), respectively. Fowl typhoid and Pullorum disease are covered in detail in chapter 3.3.11.

In humans, young children, the aged and those people who are immunologically compromised or taking proton pump inhibitors are most susceptible to salmonellosis. The disease can affect all species of domestic animals; young animals and pregnant animals are particularly susceptible. A wide range of clinical signs, including acute septicaemia, acute or chronic diarrhoea, respiratory disease, abortion, and arthritis, may be seen. Chicks and turkey poults of less than 1 week of age are highly susceptible to Salmonella infection and may occasionally exhibit clinical signs including anorexia, adipsia, depression, ruffled feathers, huddling together, somnolence, dehydration, white diarrhoea and pasted vents with considerable mortality as a result, but even in young poultry, subclinical infection is most likely. In calves, septicaemic infection with the host-adapted S. Dublin serovar occurs mainly at 2–6 weeks of age. The calves are dull, pyrexic, are anorexic, have diarrhoea with blood and mucus in the faeces, may have pneumonia or necrosis of distal extremities, and often become quickly dehydrated and die if appropriate treatment is not given in a timely manner. In pregnant cows, infection with S. Dublin is a common cause of abortion. Pigs infected with the host-adapted S. Choleraesuis may show clinical illness, are anorexic, have a high fever, become lethargic and the extremities may appear cyanotic. show signs of septicaemia that can result in death without any preceding clinical signs. However, more commonly, clinical signs of affected pigs are anorexia, high fever, lethargy, shallow cough, difficulty in breathing and cyanotic extremities. Salmonella Typhimurium is also a common cause of salmonellosis in cattle and weaned pigs.

Many animals, especially poultry and pigs, but also cattle and sheep, may be infected but show no clinical illness (Barrow & Methner, 2013 Jajere, 2019). Such animals may be important have a central role in relation to the spread of the infection between and within flocks and herds. Salmonellosis has been recognised in all countries, but non-typhoidal infection appears to be most prevalent in areas of intensive animal husbandry, especially of poultry or and pigs (Barrow & Methner, 2013 Jajere, 2019).

3.	Zoonotic risk and potential, biosafety and biosecurity requirements

Human salmonellosis is one of the most common and economically important zoonotic diseases. The Centers for Disease Control and Prevention (CDC) estimates that salmonellosis causes more than 1.2 1.35 million illnesses each year in the United States of America, with more than 23,000 26,500 hospitalisations and 450 429 deaths (CDC, 2013; 2021). A recent study in Australia reported that in 2015, there were nearly 91,000 non-typhoidal salmonellosis cases, of which over 4300 were hospitalised and 19 patients died, at a total societal cost of over 100 million US dollars (Ford et al., 2019). The most common cause of infection with Salmonella is eating contaminated foods including raw or undercooked eggs or egg products, meat, poultry and pig meat, contaminated fresh fruit and vegetables and soft cheeses made from unpasteurised milk.

Salmonella can also be spread to people through contact with infected birds, livestock, reptiles, amphibians, and rodents, dogs and cats. These animals may carry the bacteria even when apparently healthy. Many serovars, including some that are host-adapted such as S. Choleraesuis and S. Dublin, have been shown to cause serious disease in humans. Abattoir workers, animal attendants and veterinarians may be infected directly during the course of their work when in contact with infected animals. Laboratory personnel may also acquire the infection if safe working practices are not implemented. To prevent occurrences of laboratory infections, the biosafety and biosecurity measures in veterinary diagnostic and animal facilities should be adhered to All laboratory manipulations with live cultures or potentially infected or contaminated material must be performed at an appropriate biosafety and containment level as determined by biological risk analysis (see Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities).

4.	Differential diagnosis

Signs in young birds with generalised salmonellosis closely resemble those seen in Pullorum disease, fowl typhoid and those of other acute septicaemic illnesses caused by a wide variety of bacteria including Escherichia coli. In all avian species arthritis caused by Salmonella infection may be mistaken for synovitis or bursitis caused by other infections. Septicaemic salmonellosis in pigs caused by S. Choleraesuis may be mistaken for hog cholera. Septicaemic salmonellosis in calves or weaned pigs may be confused with colibacillosis, although the latter disease occurs usually at a younger age. The acute enteric form of salmonellosis in calves may resemble coccidiosis. Abortions in sheep may be caused not only by S. Abortusovis, but also by Chlamydia abortus, Campylobacter spp., Coxiella burnetii, Chlamydophila abortus, Brucella ovis or other pathogens.

B.  DIAGNOSTIC TECHNIQUES

Table 1. Test methods available for the diagnosis of salmonellosis and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post-vaccination |
| Detection of the agent(a) |  |  |  |  |  |  |
| Salmonella isolation | +++ | +++ | +++ | +++ | +++ | – |
| Rapid alternative methods, e.g. PCR | + | + | + | + | + | – |
| Detection of immune response |  |  |  |  |  |  |
| SAT | ++ | – | ++ | – | + | ++ |
| ELISA | ++ | – | +++ | + | ++ | ++ |

Key: +++ = recommended for this purpose; ++ recommended but has limitations; 
+ = suitable in very limited circumstances; – = not appropriate for this purpose. 
PCR = polymerase chain reaction-based tests; SAT = serum agglutination test; ELISA = enzyme-linked immunosorbent assay. 
(a)A combination of agent detection methods applied on the same clinical sample is recommended.

1.	Detection of the agent

The frequency of sampling and the type of samples obtained will depend largely on the objectives of the testing programme, import and export monitoring or international trade regulations, clinical findings, level of detection or precision of prevalence estimates required, cost and availability of sampling resources and laboratory facilities. General guidelines on the collection, submission and storage of diagnostic or survey samples, the sample size, the information to be sent with the samples and the packaging and transportation of samples are described in Chapters 1.1.2 and 1.1.3 of this Terrestrial Manual.

Individual samples for bacteriological tests are collected as aseptically as possible and in the case of clinical disease or routine monitoring, samples should be collected before any antibiotic treatment has commenced. Clinical samples are preferably collected during the acute phase of the disease or as soon as possible after death. In the case of flocks of poultry or other avian species, environmental samples, such as naturally pooled faeces, litter and dust or drag or boot swabs from floor surfaces (Carrique-Mas & Davies, 2008), or large, moist fabric swabs may be the most cost-effective way to identify infected flocks, and can also be useful for other types of livestock unit. In dairy herds, milk filters can be a useful sample type. For smaller animal species, it may be preferable to submit a representative number of sick or recently dead animals to the laboratory (WHO, 1994). Host-adapted serovars are usually more difficult to isolate from faeces so if these are suspected, infected tissues should be cultured where possible.

Particular attention should be given to the isolation of salmonellae from animals with subclinical infection, as these may only excrete shed bacteria intermittently and in low numbers. An increased sample size, increased number of samples representing more individuals, combined in some cases with pooling of samples to reduce the cost, and repeat sampling can provide an increased diagnostic sensitivity, but pooling can also reduce detection if the sample prevalence or concentration of target bacteria is low. As bacteria are usually clustered in faecal samples, a thorough mixing of the sample before culture may also increase the sensitivity of the procedure (Cannon & Nicholls, 2002). Bacteriological and also serological methods may be used to identify infected flocks or herds, rather than to identify and infected individual animals.

1.1.	Culture

There are numerous methods for isolation and detection of Salmonella in use world-wide (Fricker, 1987; Harvey & Price, 1974; Lee et al., 2015; Park et al., 2014; Reissbrodt, 1995). Some of the more common methods are described below. The culture techniques and media that may work best in a particular diagnostic situation depend on a variety of factors, including the Salmonella serovar, source and type of specimens, animal species of origin, experience of the microbiologist, and availability of selective enrichment and selective plating media.

All culture media should be subjected to quality control and must support growth of the suspect organism Salmonella from a small inoculum in the presence of a relevant sample matrix or competing flora. The routine use of a reference strain in parallel with routine samples may lead to cross-contamination of samples if careless techniques are used; therefore, a rare serovar with typical growth characteristics that are similar to the highest priority target strains should be used. It is also possible to use strains with antimicrobial resistance or other markers, such as fluorescence.

The increasing application of external quality assurance programmes has led to greater use of international standard methods, such as ISO 6579:2002, even though this-1:2017 (as amended in 2020). The modified semi-solid Rappaport–Vassiliadis (MSRV) agar-based method has not been validated for faecal and environmental food, /feed and environmental samples and was intended for foodstuffs and feeding stuffs (ISO, 2002). A standard is the required method for detection of Salmonella from primary animal production has been published, and the ISO method has now been adopted (ISO, 2007). and optional for food or feeding stuffs. The basis of the standard method is pre-enrichment in buffered peptone water, followed by mandatory selective enrichment on MSRV agar and for samples of primary production, whereas for food and feedstuffs the prescribed selective enrichment is Müller–Kauffmann tetrathionate broth (MKTTn) and Rappaport–Vassiliadis-soya (RVS) broth or MSRV, then isolation is carried out on xylose-lysine-deoxycholate (XLD) agar and an additional plate medium of choice, which is based on a different biochemical indicator. This method MSRV agar has also been shown to be highly effective for animal feed, animal environmental samples and meat products, and is simpler and less expensive than the full ISO method detection of motile salmonellae. Diagnostic methods and assays should be validated as described in Chapter 1.1.6 Principles and methods of validation of diagnostic assays for infectious diseases.

1.1.1.	Pre-enrichment media

The number of salmonellae in faeces from asymptomatic animals, environmental samples, animal feed and food is usually often low, and sometimes damaged, thus it is often necessary to use pre-enrichment media, such as buffered peptone water to assist isolation maximise detection. This may allow the small numbers of salmonellae, which may otherwise be killed by the toxic effect of selective enrichment media, to multiply, and it may help to resuscitate salmonellae that have been sub-lethally damaged, e.g. by freezing, heating, desiccation, or exposure to biocides or organic acids (Harvey & Price, 1974). For intermittent shedders If acid-treated samples are being tested, it can be advantageous to increase the buffering capacity of the pre-enrichment medium. For highly absorptive samples or fresh faeces and intestinal contents, increasing the ratio of broth to sample weight can improve detection. For intermittent shedder animals, it is advantageous to test at least three consecutive faecal samples.

1.1.2.	Selective enrichment media

Enrichment media are liquid or semi-solid agar media containing additives that selectively permit salmonellae to grow while inhibiting the growth of other bacteria. Examples of selective enrichment media are tetrathionate, as in Müller–Kauffmann broth, selenite cystine, brilliant green broth, RSV RVS broth and MSRV agar. Some additives, however, are also can be relatively toxic to certain serovars of Salmonella, e.g. selenite inhibits S. Choleraesuis, and brilliant green is toxic to many strains of S. Dublin. Elevated temperatures have also been used to increase the selectivity, with a temperature of 43°C being used in some laboratories, although this may be inhibitory with some media, e.g. tetrathionate.

With Rappaport–Vassiliadis at 43°C temperature-sensitive strains, especially S. Dublin, are inhibited and 41.5°C is now recommended for incubation of RSV RVS broth-based media and MSRV agar. Selective motility enrichment media such as MSRV agar or diagnostic semi-solid Salmonella medium (DIASALM) are commonly used to increase the sensitivity of the Salmonella isolation procedure (Voogt et al., 2001). Use of at least two selective enrichment broths media is recommended for maximum recovery, and detection of mixed serovar contamination, with one incubated at 37°C and the other at a suitable higher temperature. The formulation of the medium, which may vary between suppliers, or even between batches in some cases, temperature and duration of incubation, and the volume of the samples used to inoculate the medium, may all serve to influence the isolation rate, and these variables should always be taken into account. The selectivity of these media is based on the motility of the organism, the presence of malachite green dye and novobiocin, and a high concentration of magnesium chloride. The semi-solid medium allows motility to be detected as halos of growth spreading within the agar from the site of inoculation. If there is no such growth, the sample can often be considered to be negative for Salmonella without further plating. Non-motile strains however cannot be detected using semi-solid selective enrichment. Additives, such as ferrioxamine E, may be added to selective enrichment media to enhance isolation of Salmonella from iron or nutrient-limited samples such as eggs, water or soil (Reissbrodt, 1995) or antibiotics such as novobiocin may be added to suppress most Gram-positive organisms or other Gram-negative bacteria, such as Proteus. Specific antibiotics can be added to enhance the isolation of antimicrobial resistant Salmonella strains.

1.1.3.	Selective plating media

These are solid, selective agars that permit differential growth to varying degrees. They inhibit growth of bacteria other than Salmonella and give information on some of the principal differential biochemical characteristics – usually non-lactose fermentation and hydrogen sulphide (H2S) production. The results are read after 24 and 48 hours of culture at 37°C. Salmonellae form characteristic colonies on such media that are usually distinguishable from the colonies of other bacteria on the plate, with the possible exceptions of Proteus, Pseudomonas, Citrobacter and Hafnia. Lactose-fermenting salmonellae may occasionally be isolated and H2S production may be variable. Such atypical strains may be more effectively detected when semi-solid motility media are used for selective enrichment. Examples are the modified semi-solid MSRV and DIASALM. The selectivity of these media is based on the motility of the organism, the presence of malachite green dye and novobiocin, and a high concentration of magnesium chloride. The semi-solid medium allows motility to be detected as halos of growth away from the site of inoculation. DIASALM medium is particularly useful for the detection of atypical strains as presumptive confirmation by slide agglutination testing using polyvalent O, H or specific antisera can be carried out on liquid from the growth zone in the plate. Also, Plates such as desoxycholate-citrate agar (DCA), brilliant green agar (BGA) or bismuth-sulphite agar can be used, but these are subject to a higher frequency of false-positive colonies. Salmonella Abortusovis is a slow-growing serovar and it is usual to incubate plates for up to 72 hours and to use the non-selective blood agar. Examples of, or minimally selective plating media are BGA, XLD MacConkey agar, DCA, and bismuth-sulphite agar. A wide range of chromogenic agars such as Rambach agar and SMID (Salmonella detection and identification agar) are now also available for the selective isolation of salmonellae. Many of these may aid differentiation of suspect colonies, especially from faecal samples, but must be validated for the sample matrices, culture systems and serovar range targeted as sensitivity can be poor in some circumstances., e.g. for host-adapted or some arizonae or diarizonae serovars. Certain chromogenic agar media, such as Brilliance or Rapid, may, however, be more efficient for detection of biochemically atypical salmonellae.

1.1.4.	Example test procedures for isolation of Salmonella from food, feedstuffs, faecal and environmental samples

i)	Add a 10–25 g sample to at least ×10 volume of buffered peptone water at ambient temperature. (NB: for many host-adapted serovars and some arizonae serovars, it is preferable to add the sample to selective enrichment medium, such as selenite cysteine broth, and to test tissue samples where possible [including by direct plating]; see culture method for S. Pullorum/Gallinarum (biovars Gallinarum and Pullorum) in Chapter 3.3.11 Fowl typhoid and Pullorum disease.)

ii)	Incubate in pre-warmed buffered peptone water for 16–20 hours at 37 34–38°C.

iii)	Inoculate 15–20 ml MSRV agar or DIASALM in a 90 mm diameter Petri dish with 0.1 ml incubated buffered peptone water, preferably as three separate drops.

iv)	Inoculate 10 ml Müller–Kauffmann tetrathionate broth with 1 ml incubated buffered peptone water broth.

v)	Incubate MSRV or DIASALM at 41 40.5–42.5°C and tetrathionate broth at 37 34–38°C (ensure that a reputable brand. The higher end of tetrathionate the temperature range for both pre-enrichment and selective enrichment is recommended for improved isolation of Salmonella from faecal and intestinal samples, or environmental samples with a complex flora. The lower part of the range may be more suitable for use at 37°C is used) some food/feed and dry environmental samples.

vi)	After 24 and 48 hours of selective enrichment, plate out MSRV or DIASALM by taking 1 µl loop of material from the edge of the turbid growth zone and streaking over one plate of chromogenic agar (e.g. Rambach agar) or BGA plus novobiocin and one plate of XLD agar.

vii)	Plate out 10 µl of tetrathionate broth on one plate of chromogenic agar (e.g. Rambach agar) or BGA plus novobiocin and XLD agar.

viii)	Incubate plates at 37 34–38°C for 24 21–27 hours.

ix)	Check up to five suspect colonies (red/pink with reddening of the media on BGA, crimson with pale borders or orange/colourless on Rambach agar medium on BGA, red with black centre (or occasionally translucent red in the case of H2S negative strains) on XLD agar) biochemically, using composite media such as TSI, LDC and urea, or commercial biochemical tests test kits, and by slide agglutination with polyvalent ‘O’ (A-S) and poly ‘H’ (phase 1 and phase 2 antisera). Confirm to the serogroup level by using poly ‘O’ and poly ‘H’ (phase 1 and phase 2) specific ‘O’ group antiserum or composite. The combination of the biochemical media. and serological results can provide confirmation of Salmonella spp. Sero-grouping alone is not sufficient to rule out false positives because of cross-reactions with polyvalent sera, e.g. by Citrobacter or Enterobacter spp. Multiple Composite biochemical tests, polymerase chain reaction (PCR) or matrix assisted laser desorption ionisation time of flight (MALDI-ToF) mass spectrometry can also provide confirmation of Salmonella spp.

x)	Subculture strongly suspect colonies that do not agglutinate with poly H antisera on to non-selective media then repeat testing. If a strong poly ‘O’ and poly ‘H’ agglutination can be obtained, this is sufficient for presumptive confirmation. Biochemically and serologically confirmed isolates can then be submitted to a reference laboratory for serotyping. If agglutination results are unclear then carry out further biochemical testing using composite media, such as TSI or use ONPG (o-nitrophenyl-beta-d-galactopyranoside) and urea or commercial biochemical test kits.

This method differs from ISO 6579:2002 and its Annex D method in that it allows for inoculation of DIASALM in place of MSRV for selective enrichment and uses the chromogenic Rambach agar as its first plating agar. However, it provides the possibility of additional detection by combining elements of broth and semi-solid agar enrichment (Carrique-Mas et al., 2009).

1.2.	Quantification methods

Salmonella from infected tissues can be enumerated by direct plating, but most probable number (MPN) techniques are necessary for faecal, feed or environmental samples. A miniaturised MPN method has been described (and listed by ISO, 2012 (ISO/TS 6579-2:17-2; ISO, 2012) based on Fravalo et al., (2003). Furthermore, quantitative real-time PCR methods have also been developed (Zhang et al., 2020).

1.3.	Identification of suspect colonies

Suspect colonies are subcultured onto selective and non-selective agars to ensure the absence of possible contaminants, such as Proteus spp. If there is an abundant pure growth, suspect colonies may be tested by slide agglutination with polyvalent Salmonella-typing antisera (Ellis et al., 1976). In some cases, the suspect colony may not agglutinate or may auto-agglutinate and it is necessary to use biochemical tests to confirm the identity. These tests can be performed using peptone water sugars or commercial systems or composite media (such as triple sugar iron agar [TSI]), can be used to screen organisms]) (Ewing, 1986). It is particularly important to ensure that Salmonella cultures used for determination of antimicrobial resistance of live vaccine testing are not mixed with other organisms such as Pseudomonas that are more likely to be multi-resistant or to mask auxotropism. MALDI-TOF is also an acceptable and rapid method for identification of Salmonella (Dieckmann & Malorney, 2011).

The determination of the O factor(s) and the H antigen(s), and in special circumstances the Vi antigen (present in S. Typhi, S. Paratyphi C and S. Dublin), is performed by direct slide agglutination or tube agglutination using specific antisera. In the case of biphasic organisms, it is necessary to determine both H phases, by the use of phase inversion – this involves passage through semi-solid agar containing antiserum to the known phase. Screening is facilitated by the availability of antisera directed against several factors, which can be pursued further by the use of monovalent typing sera. More details on serotyping of Salmonella are described in ISO/TR (2014) 6579-3:2014 2017-3 and by Grimont & Weill (2007). While many laboratories can identify the more common serovars, it is usually necessary to use the facilities of a reference laboratory to confirm the identity of an isolate, including or to conduct phage typing, if serovar-specific typing phages are available, and for genetic characterisation. Additional biochemical or PCR tests may be necessary to identify some serovar variants, e.g. d-tartrate fermentation, which can be used to differentiate S. Paratyphi B var. Java (d-tartrate +) from S. Paratyphi B. Isolates should also be tested for their sensitivity to a range of antimicrobial agents as there is increasing concern about the emergence of new multiple resistant strains harbouring (transferable) resistance genes to cephalosporins, colistin and fluoroquinolones (Figueiredo et al., 2015; Greene et al., 2008 Antonelli et al., 2019; Jajere, 2019). Live vaccine strains are also commonly identified by antimicrobial resistance markers or biochemical changes such as auxotrophism or roughness, as well as by commercial PCR kits or published PCR assays.

1.4.	Immunological and nucleic acid recognition methods

Numerous alternative Salmonella detection methods are in use and some are commercially available. These include immunomagnetic separation (IMS) (Park et al., 2011), reverse transcriptase real-time (RT)-PCR (Park et al., 2014), enzyme-linked immunosorbent assay (ELISA) (Barrow, 1992; Wang et al., 2015), real time PCR (Malorny et al., 2004), quantitative PCR (Piknova et al., 2005) and microarray analysis (Porwollik et al., 2004; Rasooly & Herold, 2008). These methods may be used to identify specific Salmonella serovars (Maurischat et al., 2015a) or to distinguish live vaccine strains from Salmonella serovars infecting the flock or herd (Maurischat et al., 2015b). Some consist of a combination of methods such as a two-step enrichment and real-time PCR (Krascseniscová et al., 2008). Conventional or real-time quantitative PCR, sometimes including simultaneous identification of key serovars (Heymans et al., 2018; Zhang et al., 2020), loop-mediated isothermal amplification (LAMP) methods (Yang et al., 2018), enzyme-linked immunodiagnostic assays (Cetin et al., 2019) are available. Many of these methods have not been fully validated for faecal and environmental samples, although some progress has been made (Eriksson & Aspan, 2007; Malorny & Hoorfar, 2005). These ; Heymans et al., 2018) and in the EU it is possible to validate alternative methods for statutory use by following ISO16140-2, via an authorised certified organisation accreditation body. These rapid methods are more suited to analysis of human foodstuffs, where inhibitors of the PCR reactions and competing or cross-reacting organisms are not as problematic as for faeces. Optimisation of PCR detection necessitates suitable DNA extraction techniques and controls to detect inhibition, which may reduce the sensitivity of the test in some cases (Jensen et al., 2013; Kanki et al., 2009), though there is . One of the main advantage of these methods in comparison with the cultural ones is their rapidity, and they can be a role for rapid methods valuable diagnostic tool in test and release of batches of Salmonella-free food and animal feedstuffs. The rapid methods are usually more expensive than conventional culture, but can be economically viable for initial screening of materials where a low prevalence of contamination is expected or where materials, such as feedstuffs, are held pending a negative test. An enrichment/IMS method linked with enzyme-linked immunosorbent assay (ELISA) or PCR can identify most Salmonella contamination within 24 hours (Wang et al., 2018). As currently none of the rapid methods has been shown to be suitable for direct detection of low numbers of Salmonella in samples, non-selective or selective enrichment stages are usually required (Oliveira et al., 2003). Typically this introduces more steps and operator time in the detection procedure. For DNA-based methods, inhibition of the PCR reaction by elements of the test sample matrix, especially in the case of faeces, is problematic and requires suitable DNA extraction techniques and controls to detect inhibition, which may reduce the sensitivity of the test in some cases (Jensen et al., 2013). There are many variations and developments in rapid methods for Salmonella detection, but none has been shown to satisfactorily replace culture in all circumstances.

In contrast, molecular methods for serotyping or subtyping Salmonella isolates are increasingly widely used (EFSA, 2013) and some for outbreak investigation and source attribution (Munck et al., 2020). Some kits using these methods are suitable for use in small laboratories that lack the facilities of a reference laboratory. It is important that kits used have been fully validated in accordance with chapter 1.1.6. (Diep et al., 2019) and one is registered by the OIE. Multiplex PCR or whole genome sequencing-based methods may be used to identify specific Salmonella serovars (Maurischat et al., 2015a) or to distinguish live vaccine strains from Salmonella serovars infecting the flock or herd (Maurischat et al.,2015b; Tang et al., 2019). A new ISO standard (ISO 16140-6:2019) covers validation of (sub)typing methods and is a prerequisite for such methods to be used to replace Salmonella serotyping in statutory EU control programmes. It is important that kits used have been fully validated in accordance with chapter 1.1.6. Kits should preferably be selected from those listed on the OIE Register.

2.	Serological tests

2.1.	Serological identification of infected animals, flocks and herds

A number of serological tests have been developed for the diagnosis of Salmonella infections in animals. In poultry, the whole blood test, which uses a stained antigen, and the serum agglutination test (SAT) have been used successfully for over 50 years for the identification of flocks infected with S. Pullorum/ Gallinarum/ (biovars Gallinarum and Pullorum) (see Chapter 3.3.11). Because S. Enteritidis possesses the same group D somatic antigen as S. Pullorum/ Gallinarum and is thought to originate from it a common ancestor (Thomson et al., 2008), the whole blood test and related tests can be used for the diagnosis of S. Enteritidis infection, but the sensitivity is low. In recent years, Other tests, such as the ELISA (Barrow, 1994 Feld et al., 2000) have been developed for the diagnosis of S. Enteritidis and S. Typhimurium infections in poultry and for other serovars in farm animals. The ELISA has been used effectively to identify serologically S. Dublin carrier cattle and can be applied to bulk milk for screening dairy herds. An ELISA that includes somatic antigens from a mix of serovars (“mix-ELISA”) is used in Denmark, Germany, the Netherlands, the United Kingdom, and some other several countries on serum or tissue fluid released by freezing then thawing muscle samples to detect Salmonella infections in pigs (Nielsen et al., 1998). A similar test can be used to detect antibodies to S. Enteritidis and S. Typhimurium in egg yolk from unvaccinated commercial laying flocks. Several ELISAs are available as commercial kits, but their performance can be variable (Van der Heijden, 2001). Some ELISAs are now in routine use and a number are available commercially. There is a need for standardisation of their use and, to this end, panels of control sera are available commercially from Denmark and the Netherlands.

2.2.	Factors affecting serological diagnosis

1.	Serological methods should be used to identify infected flocks/herds rather than to identify infected individual animals, although repeated herd tests can be used as an aid to selective culling of chronic carrier animals. Serological tests are normally designed to detect a limited range of Salmonella serovars or serogroups.

2.	It is well recognised that some animals with a positive serological response may no longer be infected with Salmonella organisms, and in countries with a low prevalence of salmonellosis specificity issues mean that most positive results will be false. Animals that are actively excreting shedding salmonellae may be serologically negative in the early stages of disease and some individual infected animals never seroconvert. Animals that are serologically positive may have ceased to excrete shed salmonellae although circulating immunoglobulin concentrations may remain high. Other, especially in latent carrier animals, but other animals on the farm may still be shedding intermittently. Serologically negative animals may result from a recent infection causing excretion and shedding before immunoglobulin production is maximal, or infection with less invasive serovars. Animals that have been infected recently would, in all probability, eventually be detected serologically by an appropriate monitoring programme throughout the life of the flock/herd but there are often cost limitations to the application of effective monitoring programmes.

3.	Newborn animals are immunologically immature and do not respond serologically to the somatic LPS antigen until 2–3 weeks of age. They do, however, produce a serological response to the flagellar protein antigens. Cattle may be unresponsive until about 10–12 weeks of age, and suckling pigs may fail to develop an immune response or have an antibody response that reflects maternal immunity. Differential responses involving different antibody classes (IgM, IgA, IgG) can be used in pigs to help differentiate recent infection from infection that occurred some time ago, but this is often not useful for herd testing where individuals are usually at different stages of infection. Most tests are based on IgG and raised antibody levels typically appear 1–3 weeks after infection and last 2–3 months.

Chickens may also acquire anti-Salmonella antibodies passively from their parents via the antibodies in egg yolk sac; this may indicate an infected or vaccinated parent flock. Mammals can acquire maternally derived antibodies via the colostrum.

4.	Immunisation has been used for many years to aid control of certain Salmonella infections in farm animals, and if diagnostic serology is to be used, it is necessary to differentiate the vaccine response from that of actual infection. Many live vaccines given orally do not provoke a significant serum antibody response in the majority of animals, but there may be occasional exceptions that are difficult to interpret. Injectable killed vaccines used for control of S. Enteritidis Salmonella in chickens may produce a very prolonged antibody response. Live marker vaccines have been produced and can be distinguished from field challenge strains because, depending on the adjuvant used. No true DIVA (detection of infection in vaccinated animals) test is readily available for specific identification of their antimicrobial resistances the antibody response to rifampicin and by real-time PCR assays (Maurischat et al., 2015b) vaccination, but in the case of S. Gallinarum/ (biovars Gallinarum and Pullorum), combined use of a LPS and flagella-based ELISA can help exclude the possibility of a false positive reaction in a flock vaccinated for S. Enteritidis.

5.	The effect of antibiotic therapy on the serological response remains unclear. Some workers found reduced titres following therapy whereas others found no effect. Serology, however, may be a more useful diagnostic technique for salmonellosis than culture if antimicrobial therapy has been used.

6.	Over 2600 different Salmonella serovars exist. Depending on the antigen and test used, serological cross-reactions between different serovars may occur, e.g. S. Typhimurium, S. Abortusequi, S. Pullorum Gallinarum and S. Enteritidis. In some cases cross-reactions may also occur as a result of exposure to organisms other than Salmonella.

7.	In poultry, egg yolk may be tested for immunoglobulins to Salmonella, and eggs may provide a method to screen flocks. This approach is used for monitoring commercial laying flocks in Denmark. In cattle, milk may be tested for anti-Salmonella antibodies to screen dairy herds.

8.	The use of filter-paper discs for serum collection obviates the necessity to separate serum. The discs also provide long-term storage and reduce transport costs to the laboratory. The sensitivity of the test may be slightly reduced compared with tests carried out on fresh serum.

2.3.	The whole blood test

The whole blood test provides a rapid test for fowl typhoid and Pullorum disease that can be used on the farm. The sensitivity of the whole blood test is low and in inexperienced hands false-positive and false-negative results may be recorded. For a detailed description of the whole blood test, see chapter 3.3.11.

2.4.	Rapid slide agglutination test

Serum (0.02 ml) is mixed with polyvalent crystal-violet-stained antigen (0.02 ml). The tile is rocked gently for 2 minutes, after which the test is read. The test components are stored at 4°C and must have reached room temperature before being used.

Test sera should be free from contamination and haemolysis. It may be helpful to centrifuge serum samples that have been stored for any period of time.

If nonspecific false-positive reactions are suspected, positive/suspicious sera may be retested after heat-inactivation at 56°C for 30 minutes.

2.5.	Serum agglutination test

The SAT is relatively insensitive, and many older animals may have low levels of agglutinins in their sera caused by enterobacteria other than Salmonella. Single samples are of little diagnostic value except for initial screening on a herd basis. Paired samples are needed as the minimum requirement for confirmation of active infection. The test is relatively inexpensive simple; the antigens can be readily prepared and expensive equipment is not necessary. The SAT can be adapted to the microtitre format and can be readily used to determine somatic and flagellar titres. It is advisable to use standard sera and other confirmatory methods for quality control of the purity and immunogenicity of SAT antigen preparation(s) that are not dependant on sera produced from those antigens. This method has been used for identification of exposure to various Salmonella serovars, e.g. S. Typhimurium, S. Enteritidis, S. Dublin, S. diarizonae in turkeys, and S. Abortusequi.

2.5.1.	Preparation of somatic antigen

i)	Plate out the Salmonella culture from the appropriate stock culture onto a blood agar base (BAB) plate, or other suitable medium, for single colony growth. Incubate overnight at 37°C (±2°C).

ii)	Select a smooth colony and carry out a slide agglutination test to ensure that the required somatic antigen is present.

iii)	Using a sterile loop, inoculate a nutrient agar slope in a universal container from the selected colony.

iv)	Incubate the culture for 8–12 hours at 34–38°C 37°C (±2°C).

v)	Using a Pasteur pipette, wash off the culture, preferably inside a safety cabinet, with approximately 2 ml of absolute alcohol, and transfer into a sterile universal container.

vi)	Leave the antigen for 4–6 hours at room temperature to enable the alcohol to kill the bacteria and detach flagella.

vii)	Spin the universal container in a bench-top centrifuge for 5 minutes at 1000 g. Pour off the liquid and add enough phenol saline to make the antigen up to an opacity equivalent to Brown’s tube No. 2 (approximately 108 colony-forming units/ml) or other appropriate standard.

viii)	Carry out standard titration with known serum to ensure that the antigen is positive for the required factor.

ix)	Store in a refrigerator at 4°C until required.

2.5.2.	Preparation of flagellar antigens

i)	Plate out the appropriate Salmonella stock culture on to a BAB plate, or other appropriate medium. Incubate overnight at 34–38°C 37°C (±2°C).

ii)	Passage in semi-solid agar (about 0.3%) in a Craigie’s tube, or other suitable container, to induce optimum expression of the appropriate flagellar antigen. If the serovar is biphasic, H antiserum corresponding to the phase to be suppressed is added to the agar.

iii)	Use slide agglutination to check that the Salmonella is in the required phase. If this is correct, inoculate a loop of culture into 20 ml of nutrient broth. Incubate for 12–18 hours at 34–38°C 37°C (±2°C) for optimum growth. (If the phase is incorrect, re-passage through semi-solid agar.)

iv)	Pipette 250 µl of 40% formaldehyde into the antigen suspension (use gloves and preferably work in a safety/fume cabinet), and leave overnight.

v)	Test the antigen by SAT using the appropriate typing serum.

2.5.3.	Test procedure

i)	It is easiest to screen the sera at a dilution of 1/20; 0.25 ml of antigen is added to 0.25 ml of serum pre-diluted to 1/10 in normal saline.

ii)	The tests are incubated in a water bath at 50°C for 24 hours in the case of somatic antigens and for 4 hours for the flagellar antigens. The dilution and time of incubation will vary depending on the antisera that are used.

iii)	Sera that give a positive reaction are then diluted from 1/20 to 1/320 and retested with the appropriate antigen.

2.6.	Enzyme-linked immunosorbent assays for Salmonella Enteritidis

Two main basic systems are available for detection of IgG (IgY) specific for S. Enteritidis: the indirect ELISA and the competitive ‘sandwich type’ ELISA (Barrow, 1994 Barrow& Methner, 2013).

The indirect ELISA involves the use of a detecting antigen coated on to the wells of a microtitre plate. After the application of a blocking reagent to reduce nonspecific binding, test samples are applied to the wells. Specifically bound antibody in the sample is detected by an antibody/enzyme conjugate. A variety of antigens, including LPS, flagella, SEF14 fimbriae, outer membrane proteins and crude whole cell antigen preparations have been used.

The competitive sandwich ELISA employs a specific reagent – a monoclonal antibody (MAb) or polyclonal antibody – for coating antigen to wells. This is then followed by a pure or crude antigen preparation. Test samples are applied followed by conjugated antibody, which will not bind to the antigen if the sample contained specific antibodies. The assay time can be shortened by adding both test sample and conjugate together. MAbs have been prepared for LPS, flagella and SEF14 for S. Enteritidis.

There are advantages and disadvantages to both systems. The indirect assay is simpler and reagents are available for all Salmonella serovars of chickens, turkeys, ducks and mammalian hosts. The competitive ELISA can be applied to all animal species and in general shows higher specificity. However, reagents are not available commercially for all most serovars. There are also some affinity problems and it may be less sensitive than the indirect assays. In the field, both systems have produced false-positive reactions and in some cases screening with an indirect LPS ELISA may be followed by confirmation with a flagellar competitive ELISA. This combination has been used to differentiate S. Enteritidis field infection from a vaccinal response to S. Gallinarum 9R vaccine, which lacks flagellar antigens.

Both types of assay may be used with serum, egg yolk or reconstituted dried blood eluted from filter paper discs. A mix-ELISA (or meat-juice ELISA), is used in Denmark and other countries to detect Salmonella infections in pigs (Nielsen et al., 1998 Van der Heijden, 2001). This ELISA contains the ‘O’ LPS antigens 1, 4, 5, 6, 7 and 12, from S. Typhimurium and S. Choleraesuis, which enables it to detect serologically up to 95% of the Salmonella serogroups found in pigs in most European countries. Group D antigens have also been added to some ELISA kits. Serum is used to screen breeding and multiplying herds, whereas for pigs in the abattoir, the assay is usually performed on the tissue fluid (‘meat-juice’) that is liberated when a frozen 10 g muscle sample is thawed. This approach is used in most countries, but serum collected from the major blood vessels of the viscera can provide more sensitive and specific results.

With some ELISAs differentiation can be made between infections produced by Salmonella serovars from different serogroups. Some cross-reaction occurs can occur between groups B and D and other invasive serovars. There is, however, usually a greater antibody response when LPS from the homologous serovar is used in the ELISA. The optimal method for choosing a ‘cut-off’ absorbance value, above which sera are designated as having come from an S. Enteritidis-infected flock, without producing an unacceptable level of false-positive tests, has not yet been decided on and agreed upon internationally, and in the EU, ELISA testing is less commonly used because of the extensive use of vaccination against S. Enteritidis and S. Typhimurium, particularly in laying hen and broiler breeder flocks.

ELISAs are readily adapted to automation and hence to large-scale testing programmes. A major problem is that expensive equipment is necessary and many of the reagents are also expensive. Several commercial ELISA kits for S. Enteritidis, S. Typhimurium and Group B/C mix-ELISAs are available. An ELISA kit for S. Abortusovis has recently been added to the OIE register of diagnostic kits; there is a need for a similar validated test for S. Abortusequi.

Ideally these should be validated by international ring trials before adoption for surveillance purposes.

An example of a validated in-house ELISA is the one developed at the OIE Reference Laboratory at APHA Weybridge (see Table in Part 4 of this Terrestrial Manual for address).

The requirements are given below.

2.6.1.	Equipment

PVC plates; appropriate pipettes and measuring cylinders; ultrawash microtest plate washer; ELISA plate reader; test filter of 405–410 nm and reference filter of 630 nm.

2.6.2.	Antigen

i)	Phenol-extracted S. Enteritidis LPS is available commercially. This is reconstituted in 1 ml deionised water and stored at –20°C in 100-µl aliquots in phosphate buffered saline (PBS), pH 7.2, at a concentration of 2.5 mg/ml. For use, the antigen should be thawed in coating buffer at the appropriate concentration.

ii)	The LPS antigen can also be prepared by the technique of Westphal & Luderitz (1954) and standardised as to its carbohydrate concentration by the method of Gerhardt (1981), and adjusted to 1000 µg/ml.

2.6.3.	Serum and conjugate diluent

Add bovine serum albumin (BSA) (2 g) and Tween 20 (0.05 ml) to PBS (100 ml). (Alternatively, powdered milk [1 g] can replace the BSA.) Store at 4°C and make fresh solutions every week.

i)	Coating buffer

Add sodium carbonate (1.59 g) and sodium bicarbonate (2.93 g) to deionised water (1 litre) and adjust to pH 9.6. Store at 4°C and renew every 2 weeks.

ii)	Substrate buffer

Make a 10% (v/v) solution of diethanolamine in deionised water. The diethanolamine should be pre-warmed to 37°C before dispensing, and the pH of the solution should be adjusted to pH 9.8 with 1 M hydrochloric acid. Store at 4°C and renew every 2 weeks.

iii)	Enzyme conjugate

Goat anti-chicken immunoglobulin conjugated to alkaline phosphatase or other species anti-chicken globulin. Store at 4°C diluted in diluent at the appropriate concentration and renew every week.

iv)	Enzyme substrate

Dissolve one tablet of p-nitrophenyl phosphate disodium (5 mg) in substrate buffer (5 ml) no earlier than 30 minutes before dispensing, and store in the dark.

2.7.	Standards

i)	Positive control antiserum prepared by intramuscular inoculation of four 1-week-old specific pathogen free (SPF) chickens with an inoculum containing 106 S. Enteritidis. The serum is subsequently obtained 3–4 weeks later when antibody titres are maximal.

ii)	Negative control serum A from four 1-week-old SPF birds.

iii)	Negative control serum B from 58 1-week-old breeders known to be free from Salmonella infections. Pool the sera and store in 100 µl volumes at –20°C.

C.  REQUIREMENTS FOR VACCINES

1.	Background

1.1.	Rationale and intended use of the product

Many inactivated vaccines are used against salmonellosis caused by different serovars in various animal species, including a combined S. Enteritidis and S. Typhimurium vaccine for use in poultry, and a more recent vaccine that also includes S. Infantis. Inactivation is usually achieved by either heating or the use of formalin and an adjuvant, such as alhydrogel or mineral oil. Live vaccines have also been used in a number of countries; these include the semi-rough strains, such as 9R for fowl typhoid and HWS51 for S. Dublin infections (Mastroeni et al., 2001). Other attenuated vaccines include auxotrophic and ‘metabolic drift’ mutants, which are used to prevent Salmonella infections in farm animals in Germany and Europe, particularly for S. Enteritidis and S. Typhimurium in poultry and S. Typhimurium in pigs the United Kingdom and other countries. Mutant vaccines attenuated rationally by molecular biological gene-deletion techniques have been developed for poultry and other species; these include aroA mutants and strains with mutations in the genes encoding adenylate cyclase (cya) and the cyclic adenosine monophosphate receptor protein (crp) (Desin et al., 2013; Hassan & Curtiss III, 1997 Redweik et al., 2020). Attenuation of live vaccines is essential to limit intestinal replication and persistence in the animals and environment, ideally without influencing the immunogenicity, but such attenuation is unlikely to have no impact on the vaccinal response (Redweik et al., 2020). Guidelines for the production of veterinary vaccines are given in Chapter 1.1.8 Principles of veterinary vaccine production. The guidelines given here and in chapter 1.1.8 are intended to be general in nature and may be supplemented by national and regional requirements. Most vaccines are produced as highly industrial commercial processes and are regulated by national veterinary medicines licensing regulatory approval authorities. Smaller quantities of emergency herd vaccines or autogenous vaccines are produced by private laboratories and vaccine manufacturers, but each production has to be specifically licensed approved.

2.	Outline of production and minimum requirements for conventional vaccines

2.1.	Characteristics of the seed

2.1.1.	Biological characteristics

For killed or live vaccines, the bacterial strain should be an organism as closely related to currently circulating field strains as possible. It should be carefully chosen from cases of severe clinical disease, and virulence and antigen production should be assessed. It is best to evaluate a panel of potential strains in this way before testing the final selection. The final vaccinal strain should be identified by historical records and characterised by stable phenotypic or genetic markers. Live vaccinal strains should be marked by stable characters allowing distinction from wild strains. Markers, such as resistance to antimicrobials, for example rifampicin, or auxotrophism, may be used. Attenuation of virulence should be stable and preferably obtained by two independent defined mutations. The stability of live vaccine strains can be verified by regular checks using a sensitive molecular fingerprinting and micro-array techniques, preferably whole genome sequencing.

2.1.2.	Quality criteria (sterility, purity, freedom from extraneous agents)

i)	Sterility and purity

The vaccine strain must be checked as follows:

a)	Staining of a smear of bacterial suspension on a glass slide using the Gram stain.

b)	Homogeneity of culture on non-selective media.

c)	Metabolic requirements as indicated by biochemical tests.

d)	Detection of molecular markers, serotype and phage type, if applicable.

e)	Agglutination with specific antiserum.

f)	The vaccine culture and any adjuvants, preservatives or other materials must be microbiologically sterile and non-toxic at the concentrations used.

ii)	Safety

The LD50 (50% lethal dose) or ID50 (50% infectious dose) may be determined in mice or preferably signs of more mild adverse reactions should be checked in the target species. Ten times the field dose of live vaccine or twice the dose for killed vaccines must be given to the target species at the recommended age and by the recommended route. The animals are observed for absence of adverse reactions. Stability and non-reversion to virulence after serial passages in susceptible species should be shown for live vaccines. It is also necessary to consider repeat vaccination. Live vaccine should be shown not to persist for long in vaccinated animals and in the environment where they are farmed, or be transmitted to milk or eggs that may be consumed, and the method of application should not present a hazard to operators. Live vaccines should not be used in commercial laying flocks during the laying period unless eggs are processed by heat treatment.

iii)	Efficacy

Laboratory experiments and field trials should be used to show that the vaccine is effective. The laboratory experiments consist of vaccination–challenge tests in the target species at the recommended dose and age. The efficacy data can also be used as the basis for a batch potency test. Field trials are more difficult to undertake with respect to testing efficacy because of difficulties with standardising the challenge and providing appropriate controls.

iv)	Environmental aspects

Live vaccine strains should be tested for their ability to persist in the environment and infect non-target species such as rodents and wild birds that are likely to be exposed. Prolonged survival of some live vaccines in faeces and litter may present an unacceptable environmental hazard when the material is removed from the animal houses. Live vaccines should not be used in commercial laying flocks during lay.

2.2.	Method of manufacture

2.2.1.	Procedure

The seed culture is propagated and maintained using suitable media for growth of Salmonella. The media used should not contain serum or animal tissues (unless permitted by national regulations). Culture may be on solid medium, in Roux flasks, or in liquid medium, in which case large-scale fermentation equipment may be used. Iron limitation or low temperature incubation on a minimal media may enhance LPS antigen production by the vaccine strain.

Vaccine must be produced in suitable clean rooms to which only approved personnel have access. Care must be taken to avoid cross-contamination between areas where live organisms are processed and other areas. Contamination from operators or the environment must be avoided and vaccine preparation should take place in a separate area from diagnostic culture work. Operators must not work with vaccine whilst ill and must not be subject to immunosuppressive conditions or medications. Personnel must be provided with suitable protective clothing in production areas and in animal rooms.

Seed-lot cultures are prepared from the primary seed-lot, and the number of passages is dependent on the validation of the process. The vaccine may be prepared by inoculation of a suitable medium, such as nutrient broth, with a fresh culture and incubation on a shaker at 37°C for 24 hours, with or without aeration. The organisms are harvested by sedimentation or centrifugation. Alternatively, the organisms may be grown on and harvested from a solid medium, such as nutrient agar. In the case of live vaccines, the suspension is diluted in PBS, pH 7.0, and may be freeze-dried.

The time of inactivation of dead vaccines should be at least 33% more than that taken to reduce the viable number to an undetectable level. The inactivation process must be applied to the whole volume of the vaccine cell harvest and confirmed by a sensitive culture method.

Preservatives, excipient for lyophilisation, stabiliser for multidose containers or other substances added to or combined with a vaccine preparation must have no deleterious effect on the immunising potency of the product.

2.2.2.	Requirements for substrates and media

All chemicals and growth media used should be guaranteed to be fit for purpose and checked by the use of suitable controls.

2.2.3.	In-process controls

The following points require attention:

i)	Visual control of the suspension, homogeneity by Gram stain, culture on non-selective medium.

ii)	Slide agglutination with specific antisera.

iii)	Titration of bacteria by turbidimetry or plate count.

iv)	Test of effective inactivation (killed vaccine) by plating on non-selective medium or use of a medium that gives optimum chance of recovery e.g. production medium with neutralisation of the inactivating compound.

v)	Titration of viable bacteria (living vaccine) before and after lyophilisation.

2.2.4.	Final product batch tests

i)	Sterility/purity

Tests for sterility and freedom from contamination of biological materials intended for veterinary use are found in chapter 1.1.9 of this Terrestrial Manual.

ii)	Safety

A laboratory test that has previously shown a correlation with safety in the target species may be used to determine the absence of deleterious effects on vaccinated animals. Each batch should be tested in the target species at the recommended age and route, using at least twice the field dose for killed vaccines and ten times the dose for live vaccines. Observations are made on any adverse effects on the demeanour and health of the vaccinated animals and an assessment is made of tissue reactions at the injection site.

iii)	Batch potency

Potency is tested using vaccination–challenge assay in mice or other species, including (if practicable) the target species and immunological response in target species. Many Salmonella vaccines are intended for use in poultry so these should be used for potency and safety tests.

2.3.	Requirements for authorisation regulatory approval

2.3.1.	Safety requirements

Certain killed vaccines may occasionally cause abortion in pregnant animals because of their LPS content, and likewise live vaccines should be used with caution in pregnant animals. It is often necessary, however, to vaccinate pregnant animals to provide maternal immunity for their offspring. It may be useful to include endotoxin assay in the safety test programme so that the levels can be compared with those shown to be safe in the double-dose tests. Vaccines may also cause swelling at the site of injection, particularly if an oil-emulsion adjuvant is used.

i)	Target and non-target animal safety

Killed vaccines are assessed in a double-dose test, and live vaccines are assessed in a test using ten times the dose, ideally in the target species. Live vaccines should be proven to be harmless in relevant non-target species that could be exposed to vaccine excreted by vaccinated animals.

ii)	Reversion to virulence for attenuated/live vaccines

Live vaccines shall be shown in replication tests in target species to not revert to virulent strains during a suitably large number of replications. Mutations, especially undefined mutations, should be shown to be stable and checks on stability can be made by sensitive molecular fingerprinting methods or sequencing. Although the risk is small it is wise not to use live vaccines in a country where the organism in the vaccine has been eradicated.

iii)	Environmental consideration

Live vaccines should not be able to replicate in the environment or persist for more than a short period.

2.3.2.	Efficacy requirements

i)	For animal production

The duration of immunity is likely to vary considerably between products, vaccination regimes and individual vaccinated animals. Immunity to Salmonella is normally serovar or serogroup specific. Consultation among colleagues suggests that most killed vaccines will provide some protection for 6 months, while some live vaccines given by injection may elicit stronger immunity, which may persist for 1 year or more. It should be remembered, however, that a strong challenge such as that associated with continuously occupied farms or infected rodents may overwhelm vaccinal immunity and commercial live vaccines may be attenuated to reduce environmental survival in a way that reduces the immune response. There may also be problems with ensuring effective oral administration with live vaccines or accuracy of injection with killed and live injectable vaccines. The Salmonella vaccines are intended to limit the extent of clinical disease in the case of ruminants, pigs and S. Gallinarum in poultry. If possible, the potency test should relate to the efficacy of the vaccine in the target species, and suitable criteria should be applied for passing batches. It may be possible to assess killed vaccines by the O-H antibody response produced, although it should be remembered that serum antibodies are only part of the host’s protective mechanism against Salmonella. Alternatively, the potency of the vaccine may be assessed by its effect on challenged vaccinated animals compared quantitatively and statistically with unvaccinated controls.

ii)	For control and eradication

Vaccines for Salmonella are not capable of eradicating infection from herds or flocks but can increase the threshold for infection, reduce the level of excretion shedding of the organism and reduce vertical transmission in poultry that results in contamination of hatching or table eggs. Vaccination is therefore an aid to other eradication and control measures such as culling, all in-all out production, biosecurity and farm hygiene.

iii)	Stability

Information is lacking on the stability of killed vaccines. Stability is affected by storage conditions and by the presence of contaminating microorganisms growing in the product. Chemicals with antimicrobial activity, such as thiomersal, phenol or crystal violet are often included as preservatives in killed bacterial vaccines. The stability is assessed by potency tests repeated at appropriate time intervals. The stability of live vaccines can be assessed by performing counts of the number of viable organisms repeated at appropriate time intervals, and genotyping tests to identify genetic changes during fermentation production. It is recommended that live vaccines that contain Salmonella serovars that are not endemic in a particular region should not be used for control of other serovars (van Immerseel et al., 2013).

REFERENCES

Antonelli P., Belluco S., Mancin M., Losasso C. & Ricci A. (2019). Genes conferring resistance to critically important antimicrobials in Salmonella enterica isolated from animals and food: a systematic review of the literature, 2013–2017. Res. Vet. Sci., 126, 59–67.

Barrow P.A. (1992). ELISAs and the serological analysis of salmonella infections in poultry: a review. Epidemiol. Infect., 109, 361–369.

Barrow P.A. (1994). Serological diagnosis of Salmonella serotype Enteritidis infections in poultry by ELISA and other tests. Int. J. Food Microbiol., 21, 55–68.

Barrow P.A. & Methner U., eds (2013). Salmonella in Domestic Animals, Second Edition. CAB International, Wallingford, Oxon, UK. ISBN: 9781845939021; doi:10.1079/9781845939021.0000

Barrow P.A. & Neto O.F. (2011). Pullorum disease and fowl typhoid – new thoughts on old diseases: a review. Avian Pathol., 40, 1–13.

Cannon R.M. & Nicholls T.J. (2002). Relationship between sample weight, homogeneity, and sensitivity of fecal culture for Salmonella enterica. Vet. Diagn. Invest., 14, 60–62.

Carrique-Mas J.J., Barnes S., Mclaren I. & Davies R. (2009). Comparison of three plating media for the isolation of Salmonella from poultry environmental samples in Great Britain using ISO 6579:2002 (Annex D). J. Appl. Microbiol., 107, 1976–1983.

Carrique-Mas J.J. & Davies R.H. (2008). Sampling and bacteriological detection of Salmonella in poultry and poultry premises: A review. Rev. sci. tech. Off. int. Epiz., 27, 665–677.

Centers for Disease Control and Prevention (CDC) (2021). Salmonella. Available at: https://www.cdc.gov/salmonella/index.html (accessed on 6 January 2021).

Centers for Disease Control and Prevention (CDC) (2013). An Atlas of Salmonella in the United States, 1968–2011: Laboratory-based Enteric Disease Surveillance. Atlanta, Georgia: US Department of Health and Human Services, CDC, Atlanta, Georgia, USA.

Cetin E., Temelli S. & Eyigor A. (2019). Salmonella prevalence and serovar distribution in healthy slaughter sheep and cattle determined by ISO 6579 and VIDAS UP Salmonella methods. J. Food Sci. Technol., 56, 5317–5325.

Desin T.S., Koster W. & Potter A.A. (2013). Salmonella vaccines in poultry: past, present and future. Exp. Rev. Vaccines, 12, 87–96.

Dieckmann R. & Malorny B. (2011). Rapid screening of epidemiologically important Salmonella enterica subsp. enterica serovars by whole-cell matrix-assisted laser desorption ionization-time of flight mass spectrometry. Appl. Environ. Microbiol., 77, 4136–4146.

Diep B., Barretto C., Portmann A-C., Fournier C., Karczmarek A., Voets G., Li S., Deng X. & Klijn A. (2019). Salmonella serotyping; comparison of the traditional method to a microarray-based method and an in silico platform using whole genome sequencing data. Front. Microbiol., 10, 2554.

Ellis E.M., Williams J.E., Mallinson E.T., Snoeyenbos G.H. & Martin W.J. (1976). Culture Methods for the Detection of Animal Salmonellosis and Arizonosis. Iowa State University Press, Ames, USA.

Eriksson E. & Aspan A. (2007). Comparison of culture, ELISA and PCR techniques for salmonella detection in faecal samples for cattle, pig and poultry. BMC Vet. Res., 3, 21–40.

European Food Safety Authority (EFSA) (2013). EFSA BIOHAZ Panel (EFSA Panel on Biological Hazards). Scientific Opinion on the evaluation of molecular typing methods for major food-borne microbiological hazards and their use for attribution modelling, outbreak investigation and scanning surveillance: Part 1 (evaluation of methods and applications). EFSA Journal, 11, 3502 [84 pp.]. doi:10.2903/j.efsa.2013.350.

Ewing W.H. (1986). Edwards and Ewing’s Identification of Enterobacteriaceae, Fourth Edition. Elsevier, New York, USA, London, UK, and Amsterdam, the Netherlands.

Figueiredo R., Henriques A., Sereno R., Mendoça N. & Da Silva G.J. (2015). Antimicrobial resistance and extended-spectrum β-lactamases of Salmonella enterica serotypes isolated from livestock and processed food in Portugal: an update. Foodborne Pathog. Dis., 12, 110–117.

Fravalo P., Hascoet Y., Lefellic M., Queguiner S., Petton J. & Salvat G. (2003). Convenient method for rapid and quantitative assessment of Salmonella enterica contamination: The mini-MSRV MPN technique. J. Rapid Method Automat. Microbiol., 11, 81–88.

Fricker C.R. (1987). The isolation of salmonellas and campylobacters. J. Appl. Bacteriol., 63, 99–116.

Feld N.C., Ekeroth L., Gradel K.O., Kabell S. & Madsen M. (2000). Evaluation of a serological Salmonella Mix-ELISA for poultry used in a national surveillance programme. Epidemiology & Infection, 125, 263–268.

Ford L., Haywood P., Kirk M.D., Lancsar E., Williamson D.A. & Glass K. (2019). Cost of Salmonella Infections in Australia, 2015. J. Food Protection, 82, 1607–1614.

Gerhardt P. (1981). Manual of Methods for General Microbiology. American Society for Microbiology, Washington DC, USA, 332–334.

Greene S.K., Stuart A.M., Medalla F.M., Whichard J.M., Hoekstra R.M. & Chiller T.M. (2008). Distribution of multidrug-resistant human isolates of MDR-ACSSuT Salmonella Typhimurium and MDR-AmpC Salmonella Newport in the United States, 2003–2005. Foodborne Pathog. Dis., 5, 669–680.

Grimont P.A.D. & Weill F.-X. (2007). Antigenic Formulae of the Salmonella Serovars, Ninth Edition, World Health Organization Collaborating Centre for Reference and Research on Salmonella. Institut Pasteur, Paris, France.

Harvey R.W.S. & Price T.H. (1974). Isolation of Salmonellas. Public Health Laboratory Service. Monograph Series 8. Her Majesty’s Stationery Office, London, UK.

Hassan J.O. & Curtiss R. III (1997). Efficacy of a live avirulent Salmonella typhimurium vaccine in preventing colonization and invasion of laying hens by Salmonella typhimurium and Salmonella enteritidis. Avian Dis., 41, 783–791.

Heymans R., Vila A., Van Heerwaarden C.A., Jansen C.C., Castelijn G.A., Van Der Voort M. & Biesta-Peters E.G. (2018). Rapid detection and differentiation of Salmonella species, Salmonella Typhimurium and Salmonella Enteritidis by multiplex quantitative PCR. PloS one, 13(10), p.e0206316.

International Organization for Standardization (2002). ISO 6579:2002. Microbiology of food and animal feeding stuffs – Horizontal method for the detection of Salmonella spp., International Organization for Standardization, Geneva, Switzerland.

International Organization for Standardization (2007). ISO 6579:2002/Amd 1:2007 (Annex D). Detection of Salmonella spp. in animal faeces and in samples of the primary production stage – Horizontal method for the detection of Salmonella spp., International Organization for Standardization, Geneva, Switzerland.

## International Organization for Standardization (2012). ISO/TS 6579-2:2012. Microbiology of food and animal feed – Horizontal method for the detection, enumeration and serotyping of Salmonella – Part 2: Enumeration by a miniaturized most probable number technique, International Organization for Standardization, Geneva, Switzerland.

## International Organization for Standardization (2014). ISO/TR 6579-3:2014. Microbiology of the food chain –- Horizontal method for the detection, enumeration and serotyping of Salmonella – Part 3: Guidelines for serotyping of Salmonella spp., International Organization for Standardization, Geneva, Switzerland.

## International Organization for Standardization (2017). ISO 6579-1:2017. Microbiology of food and animal feed – Horizontal method for the detection, enumeration and serotyping of Salmonella – Part 1: Detection of Salmonella spp. International Organization for Standardization, Geneva, Switzerland. Amended 2020.

Issenhuth-Jeanjean S., Roggentin P., Mikoleit M., Guibourdenche M., De Pinna E., Nair S., Fields P.I. & Weill F. X. (2014). Supplement 2008–2010 (no. 48) to the White–Kauffmann–Le Minor scheme. Res. Microbiol., 165, 526–530.

Jajere S.M. (2019). A review of Salmonella enterica with particular focus on the pathogenicity and virulence factors, host specificity and antimicrobial resistance including multidrug resistance. Vet. World, 12, 504.

Jensen A.N., Nielsen L.R. & Baggesen D.L. (2013). Use of real-time PCR on fecal samples for detection of sub-clinical Salmonella infection in cattle did not improve the detection sensitivity compared to conventional bacteriology. Vet. Microbiol., 163, 373–377.

Jensen M.B.F., Schjørring S., Björkman J.T., Torpdahl M., Litrup E., Nielsen E.M. & Niskanen, T. (2017). External quality assessment for molecular typing of Salmonella 2013–2015: performance of the European national public health reference laboratories. Euro. J. Clin. Microbiol. Infect. Dis., 36, 1923–1932.

Kanki M., Sakata J., Taguchi M., Kumeda Y., Ishibashi M., Kawai T., Kawatsu K., Yamasaki W., Inoue K. & Miyahara M. (2009). Effect of sample preparation and bacterial concentration on Salmonella enterica detection in poultry meat using culture methods and PCR assaying of pre-enrichment broths. Food Microbiol., 26, 1–3.

Krascseniscová K., Piknová L., Kacliková E. & Kuchta T. (2008). Detection of Salmonella enterica in food using two-step enrichment and real-time polymerase chain reaction. Lett. Microbiol., 46, 483–487.

Lee K.M., Runyon M., Herrman T.J., Phillips R. & Hsieh J. (2015). Review of Salmonella detection and identification methods: Aspects of rapid emergency response and food safety. Food Control, 47, 264–276.

Malorny B. & Hoorfar J. (2005). Toward standardization of diagnostic PCR testing of fecal samples: lessons from the detection of salmonellae in pigs. J. Clin. Microbiol., 43, 3033–3037.

Malorny B., Paccassoni E., Fach P., Bunge C., Martin A. & Helmuth R. (2004). Diagnostic real-time PCR for detection of Salmonella in food. Appl. Environ. Microbiol., 70, 7046–7052.

Mastroeni P., Chabalgoity J.A., Dunstan S.J., Maskell D.J. & Dougan G. (2001). Salmonella: Immune responses and vaccines. Vet. J., 161, 132–164.

Maurischat S., Baumann B., Martin A. & Malorny B. (2015a). Rapid detection and specific differentiation of Salmonella enterica subsp. enterica Enteritidis, Typhimurium and its monophasic variant 4,[5],12:i:- by real-time multiplex PCR. Int. J. Food Microbiol., 193, 8–14.

Maurischat S., Szabo I., Baumann B. & Malorny B. (2015b). Rapid real-time PCR methods to distinguish Salmonella Enteritidis wildtype field isolates from vaccine strains Salmovac SE/Gallivac SE and AviPro Salmonella Vac E. J. Microbiol. Methods, 112, 92–98.

Munck N., Njage P.M.K., Leekitcharoenphon P., Litrup E. & Hald T. (2020). Application of Whole‐Genome Sequences and Machine Learning in Source Attribution of Salmonella Typhimurium. Risk Analysis, 40, 1693–1705.

Nielsen B., Ekeroth L., Bager F. & Lind P. (1998). Use of muscle fluid as a source of antibodies for serologic detection of Salmonella infection in slaughter pig herds. J. Vet. Diagn Invest., 10, 158–163.

Oliveira S.D., Rodenbusch M.C. Ce, Rocha S.L.S. & Canal C.W. (2003). Evaluation of selective and non-selective enrichment PCR procedures for Salmonella detection. Lett. Appl. Microbiol., 36, 217–221.

Park S.H., Aydin M., Khatiwara A., Dolan M.C., Gilmore D.F., Bouldin J.L., Ahn S. & Ricke S.C. (2014). Current and emerging technologies for rapid detection and characterization of Salmonella in poultry and poultry products. Food Microbiol., 38, 250–262.

Park S.H., Jarquin R., Hanning I., Almeida G. & Ricke S.C. (2011). Detection of Salmonella spp. survival and virulence in poultry feed by targeting the hilA gene. J. Appl. Microbiol., 111, 426–432.

Piknova L., Kaclikova E., Pangallo D., Polek B. & Kuchta T. (2005). Quantification of Salmonella by 5’-nuclease real-time polymerase chain reaction targeted to fimC gene. Curr. Microbiol., 50, 38–42.

Porwollik S., Boyd E.F., Choy C., Cheng P., Florea L., Proctor E. & McClelland M. (2004). Characterization of Salmonella enterica subspecies I genovars by use of microarrays. J. Bacteriol., 186, 5883–5898.

Rasooly A. & Herold K.E. (2008). Food microbial pathogen detection and analysis using DNA microarray technologies. Foodborne Pathog. Dis., 5, 531–550.

Reissbrodt R. (1995). Conventional and alternative methods for isolation and identification of Salmonella – an overview. Biotest Bull., 5, 143–156.

Redweik G.A., Jochum J. & Mellata M. (2020). Live Bacterial Prophylactics in Modern Poultry. Front. Vet. Sci., 7, 826.

Tang Y., Davies R. & Petrovska-Holmes L. (2019). Identification of Genetic Features for Attenuation of Two Salmonella Enteritidis Vaccine Strains and Differentiation of These From Wildtype Isolates Using Whole Genome Sequencing. Front. Vet. Sci., 6, 447.

Thomson N.R., Clayton D.J., Windhorst D., Vernikos G., Davidson S., Churcher C., Quail M.A., Stevens M., Jones M.A., Watson M., Barron A., Layton A., Pickard D., Kingsley R.A., Bignell A., Clark L., Harris B., Ormond D., Abdellah Z., Brooks K., Cherevach I., Chillingworth T., Woodward J., Norberczak H., Lord A., Arrowsmith C., Jagels K., Moule S., Mungall K., Sanders M., Whitehead S., Chabalgoity J.A., Maskell D., Humphrey T., Roberts M., Barrow P.A., Dougan G. & Parkhill J. (2008). Comparative genome analysis of Salmonella enteritidis Pt4 and Salmonella Gallinarum 287/91 provides insights into evolutionary and host adaptation pathways. Genome Res., 18, 1624–1637.

Van Der Heijden H.M.J.F. (2001). First international ring trial of ELISAs for Salmonella-antibody detection in swine. Berl. Munch. Tierarztl., 114, 389–392. PMID: 11570186.

Van Immerseel F., Studholme D.J., Eeckhaut V., Heyndrickx M., Dewulf J., Dewaele I., Van Hoorebeke S., Van Meirhaeghe H., Ducatelle R., Paszkeiwicz K. & Titball R.W. (2013). Salmonella Gallinarum field isolates from laying hens are related to the vaccine strain SG9R. Vaccine, 31, 4940–4945.

Voogt N., Raes M., Wannet W.J.B., Henken N.M. & Van de Giessen A.W. (2001). Comparison of selective enrichment media for the detection of Salmonella in poultry faeces. Lett. Appl. Microbiol., 32, 89–92.

Wang W., Liu L., Song S., Tang L., Kuang H. & Xu C. (2015). A highly sensitive ELISA and immune-chromatographic strip for the detection of Salmonella typhimurium in milk samples. Sensors, 15, 5281–5292.

Wang J., Li Y., Chen J., Hua D., Deng H., Li Y., Liang Z. & Huang J. (2018). Rapid detection of food-borne Salmonella contamination using IMBs-qPCR method based on pagC gene. Braz. J. Microbiol., 49, 320–328.

Westphal O. & Luderitz O. (1954). Chemische Erforschung von Lipopolysacchariden gramnegativer Bakterien. Angew. Chem., 66, 407–417.

World Health Organization (WHO) (1994). Guidelines on Detection and Monitoring of Salmonella Infected Poultry Flocks with Particular Reference to Salmonella enteritidis. Wray C. & Davies R.H., eds. WHO, Geneva, Switzerland, ZOON/94.173.

Yang Q., Domesle K.J. & Ge B. (2018). Loop-mediated isothermal amplification for Salmonella detection in food and feed: current applications and future directions. Foodborne Pathog. Dis., 15, 309–331.

Zhang J., Khan S. & Chousalkar K.K. (2020). Development of PMAxxTM-Based qPCR for the Quantification of Viable and Non-viable Load of Salmonella from Poultry Environment. Front. Microbiol., 11. doi:10.3389/fmicb.2020.581201.

*
*   *

NB: There are OIE Reference Laboratories for Salmonellosis
(see Table in Part 4 of this Terrestrial Manual or consult the OIE Web site for the most up-to-date list: https://www.oie.int/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3 ).
Please contact the OIE Reference Laboratories for any further information on 
diagnostic tests, reagents and vaccines for Salmonellosis

NB: First adopted in 1991 as Salmonellosis (S. abortus ovis and S. equi) and Salmonellosis (S. typhimurium and S. enteritidis); Most recent updates adopted in 2016.

Although certain diseases caused by Salmonella are included in some individual species sections of the OIE List, this chapter covers several species and thus gives a broader description.

http://www.oie.int/en/scientific-expertise/registration-of-diagnostic-kits/the-register-of-diagnostic-kits/

Statens Serum Institut, Copenhagen, Denmark (www.ssi.dk)

GD, Deventer, the Netherlands (www.gddeventer.com)

https://www.oie.int/en/what-we-offer/veterinary-products/diagnostic-kits/the-register-of-diagnostic-kits/

https://www.oie.int/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3